GUIDE

SPECIFICATION

Manufacturer:

QC Construction Products

P.O. Box 599

Madera, CA 93639

T: 800.453.8213

F: 559.673.0773

www.qcconstructionproducts.com

SECTION 02753

PORTLAND CEMENT CONCRETE PAVING - CHEMICALLY STAINED

********************************************************************************************

This guide specification has been prepared by QC Construction Products, in printed and electronic media, as an aid to specifiers in preparing written construction documents for colored concrete site paving for roads, parking areas, sidewalks, plaza decks, etc, using a chemically etching colored stain. The specifier should expect chemically stained concrete to exhibit a variegated finish which may include broad drifts in color.

Edit entire master to suit project requirements.  Modify or add items as necessary.  Delete items which are not applicable.  Words and sentences within brackets [_____] reflect a choice to be made regarding inclusion or exclusion of a particular item or statement.  Where a value, word, or phrase is followed by a bracket, the preferred value, word, or phrase occurs first, with the other choices following inside the brackets. This section may include performance, proprietary, and descriptive type specifications.  Edit to avoid conflicting requirements.

This guide specification is written around the Construction Specifications Institute (CSI), Section Format standards references to section names and numbers are based on MasterFormat 95.

For specification assistance on specific product applications, please contact our offices above or any of our local product representatives throughout the country.  Additional technical information is available in our CSI formatted Product Information Bulletins.

QC Construction Products reserves the right to modify these guide specifications at any time.  Updates to this guide specification will be posted to the manufacturer’s web site and/or in printed matter as they occur. QC Construction Products makes no expressed or implied warranties regarding content, errors, or omissions in the information presented.

********************************************************************************************

# GENERAL

## RELATED DOCUMENTS

### Provisions established within the General and Supplementary Conditions of the Contract, Division 1 - General Requirements, and the Drawings are collectively applicable to this Section.

## SECTION INCLUDES

********************************************************************************************

Edit the "Section Includes" paragraph to briefly describe the content of the section.  After editing section, refer back to this paragraph to verify no conflicts occur.

********************************************************************************************

### Concrete [sidewalks], [steps], [curbs], [gutters,] [and streets], colored using a chemically etching stain.

### Formwork and Reinforcement.

### Surface finishing.

### Curing and sealing.

## RELATED SECTIONS

********************************************************************************************

Sections paragraph below to suit project requirements; Delete sections that will not be used.

********************************************************************************************

### Section 02300 - Earthwork:  Preparation of site for paving.

### Section 027XX - Asphaltic Concrete Paving:  Asphaltic paving.

### Section 02765 - Pavement Marking:  Pavement marking.

### Section 07920 - Joint Sealants:  Sealant for joints.

## QUALITY ASSURANCE

********************************************************************************************

Include quality assurance requirements below which are consistent with the size and scope of the project and extent of work of this section.  Only request qualification statements you intend to review, and which are necessary to establish qualifications of the product, manufacturer, or installer.

********************************************************************************************

### Perform work in accordance with ACI 301, 302, and 304.

### Obtain materials from same source throughout.

## REGULATORY REQUIREMENTS

### Conform to applicable codes and regulations for paving work performed on public property.

## TESTS

### Perform testing and analysis under provisions of Section 01400.

### Submit proposed mix design for each class of concrete to appointed firm for review prior to commencement of work. Testing firm will review mix designs and make recommendations for modifications.

### Testing firm will take cylinders and perform slump and air entrainment tests in accordance with ACI 301.

### Four [three] concrete test cylinders will be taken for every 50 [100] or less cu yds of each class of concrete placed each day.

### One slump test will be taken for each set of test cylinders taken.

## SUBMITTALS

********************************************************************************************

Include submittal requirements below which are consistent with the scope of the project and extent of work of this section.  Only request submittals which are necessary for review of design intent.

Do not request submittals if drawings sufficiently describe the products of this section or if proprietary specifying techniques are used.  The review of submittals increases the possibility of unintended variations to drawings.

********************************************************************************************

### Submit product data under provisions of Section 01300.

### Include data on joint filler, admixtures, chemical stains, and curing/sealing compounds.

### Submit manufacturer's instructions under provisions of Section 01300.

### Provide field samples of surface colors and textures specified for architect approval prior to beginning work, 48 x 48 inch in size illustrating paving finishes.

## ENVIRONMENTAL REQUIREMENTS

### Do not place pavement when base surface or ambient temperature is less than 40º F, or if base surface is wet or frozen.

# PRODUCTS

## CONCRETE MATERIALS

### Cement:  ASTM C150, type 1, portland cement, gray color.

### Fine and Coarse Aggregates:  ASTM C33.

### Water:  Clean and not detrimental to concrete.

## FORM MATERIALS

### Conform to ACI 301.  If using metal, material shall be free from deformities.  If using wood, use construction grade lumber, sound and free of warp, minimum 2" nominal thickness, except where short radii of curves require thinner forms.

### Contraction Joint Devices:  Galvanized sheet metal, keyed profile, with knock-outs for reinforcing and dowel steel.

## REINFORCEMENT

### Reinforcing Steel:  ASTM A615; 60 ksi yield grade; deformed billet steel bars, uncoated finish.

### Welded Steel Wire Fabric:  Plain type, ANSI/ASTM A185; in flat sheets; uncoated finish.

### Tie Wire:  Annealed steel, minimum 16 gage size.

### Dowels:  ASTM A615; 40 ksi yield grade, plain steel, uncoated finish.

### Miscellaneous Reinforcing Accessories:  Spacers, chairs, ties, and other devices necessary for properly placing, spacing, supporting, and fastening reinforcement in place.

********************************************************************************************

Select F below if polypropylene fibers are desired in concrete mix to inhibit excessive bleed water and limit the shrinkage cracking.

********************************************************************************************

### Meeting ASTM C948, collated, fibrillated, 3/4 inch long virgin polypropylene fibers, equal to QC Fibers by QC Construction Products.

## ACCESSORIES

### Chemical Stain: Metallic salts in water based solution, with acidic properties; Patina Stain by QC Construction Products.

### Chemical Stain Intensifier: Use prior to applying Patina Stain by QC Construction Products to remove surface minerals and latents while cleaning concrete.

### 1.	[QC Con-Clean by QC Construction Products.]

********************************************************************************************

QC Construction Products has a broad line of concrete sealers to enhance the beauty of stained concrete and minimize the damaging effects of petroleum based contaminants and overall effect of weathering.   Contact manufacturer for suggested maintenance coatings for periodic renewal of finish.  Refer to manufacturer’s product usage recommendations.  The following is a brief description of each sealer recommended for chemically stained concrete:

QC Ultra Seal or Solvent Seal VOC III: Solvent based, non-yellowing, penetrating sealer, to protect against dusting, staining, and dirt.

QC Solvent Seal18 or 27: Same as above, but does not comply with some VOC regulations.

QC Cemseal: Water based, 100% acrylic emulsion, with excellent resistance to penetration of oil, gas, and water.

QC PermaSeal: A water-based durable modified epoxy sealer.

QC Surpro SB & WB: A two-part polyurethane that forms a high-solids coating.  SB = Solvent-Based, WB = Water-Based.  These are the most durable of all the QC Sealers.

QC Interior Floor Finish: A water-based, high-solids sacrificial finish to be used as a maintenance top-coat for interior architectural or gray concrete surfaces.

********************************************************************************************

### Sealing and Finish Coatings:

#### [QC Ultra Seal by QC Construction Products.]

#### [QC Solvent Seal VOC III by QC Construction Products.]

#### [QC Solvent Seal 18 or 27 by QC Construction Products.]

#### [QC Cemseal by QC Construction Products.]

#### [QC PermaSeal by QC Construction Products.]

#### [QC Surpro SB or WB by QC Construction Products.]

#### [QC Interior Floor Finish by QC Construction Products.]

### Form release agent: As acceptable to concrete colorant manufacturer, non-staining, dissipative type.

### Vapor Retarding Membrane: [6] [10] mil [reinforced] polyethylene.]

## JOINT FILLERS

********************************************************************************************

Select one or more of the following joint fillers.  "A" is used where an architectural statement needs to be made.  "B" is more utilitarian. "C" is used as backing for joint filler specified either below or in Section 07920.

********************************************************************************************

### Redwood Boards:  Construction heart grade redwood, sound and free of checks, splits or other defects, [3/4] 1-1/2] inch thick.

### Asphaltic Joint Filler:  Asphalt impregnated fiberboard, ASTM D1751, 1/2 inch thick.

### Non-Asphaltic Joint Fillers:  ASTM D1752, Type I.

********************************************************************************************

Select D.1 for applications where puncture resistance of horizontal joints is not a requirement.  Select D.2 for areas where a shore A modulus of 40 is desirable for horizontal joints subject to frequent foot traffic.

********************************************************************************************

### Sealants: Two part polyurethane sealants, of grade as required to suit application, meeting ASTM C920, in manufacturer's [standard] [custom] colors, and as follows:

#### Urethane, SL grade, as specified in Section 07920.

#### Urethane, SL-TB grade as specified in Section 07920

## ADMIXTURES

********************************************************************************************

Admixtures can alter desired properties of concrete mix.  Do not use admixtures to permit cold weather concreting that is detrimental to concrete properties and do not use super-plasticizers when using colored concrete.  Consult with QC Construction Products for assistance in selecting type "D" as there are various levels of retarding mixtures available.

********************************************************************************************

### Air Entrainment:  ASTM C260.

### Chemical Admixtures:  Meeting ASTM C494, [type A, cement dispersing/water reducing] [type D, set retarding/water reducing].

## CONCRETE MIX

### Mix and deliver concrete in accordance with ASTM C94, Alternate 2.

### Use accelerating admixtures in cold weather only when approved by testing laboratory.  Use of admixtures will not relax cold weather placement requirements.

### Use set-retarding admixtures during hot weather only when approved by testing laboratory.

### Add air entraining agent to concrete mix for concrete work exposed to exterior, in amounts of 4-7% of total concrete volume or as otherwise recommended by testing laboratory.

### Maintain water-cement ratio to produce a minimum of 3 to maximum of 5 inch slump.

### Use of calcium chloride is strictly prohibited.

### [Add polypropylene fiber reinforcement at the ratio of 1.5 lbs of fibers per c.y. of concrete.]

# EXECUTION

## INSPECTION

### Verify compacted [subgrade] [granular base] [stabilized soil] is ready to support paving and imposed loads, free of frost, smooth and properly compacted.

### Verify gradients and elevations of base are correct, and proper drainage has been provided so that water does not stand in the area to receive paving.

### Beginning of installation means acceptance of existing conditions.

## PREPARATION

### If not vapor retarding membrane is placed, moisten base to minimize absorption of water from fresh concrete.

### Notify Architect and testing laboratory, minimum 24 hours prior to commencement of concreting operations.

## FORMING

### Construct and remove forms in accordance with ACI 347.

### Place and secure forms to correct location, dimension, and profile.  Adequately brace to withstand loads applied during concrete placement.

### Assemble formwork to permit easy stripping and dismantling without damaging concrete.

### Place joint fillers vertical in position, in straight lines.  Secure to formwork during concrete placement.

## INSERTS AND ACCESSORIES

### Make provisions for installation of inserts, accessories, anchors, and sleeves.

********************************************************************************************

Vapor retarders are useful in exterior paving applications, especially where slip resistance is important (as in tennis courts) and where surface condensation during certain climatic conditions are undesirable.

********************************************************************************************

### [Place vapor retarder continuously over subgrade.  Overlap joints a minimum of 12 inches and seal with a joint tape of same permeance as sheeting material.]

## REINFORCEMENT

### Accurately place reinforcement in middle of slabs-on-grade.

### Interrupt every other bar of reinforcement at control and expansion joints.

### Place reinforcement to achieve slab and curb alignment as detailed.

### Steel shall be free of rust, mill scale, dirt and oil.

### Provide doweled joints at interruptions of concrete with one end of dowel set in capped sleeve to allow longitudinal movement. Provide support at both ends of dowels.

### Support reinforcing on bar chairs.  Securely saddle tie at intersections.  Rigidly secure in place to minimize displacement during concrete pour.

## JOINTS

### Intentional stoppage of concrete placing shall be at planned location of either an expansion joint or contraction joint.

### When stoppage occurs at an expansion joint, install joint assembly with a bulkhead of sufficient section drilled to accommodate required dowels.  Provide expansion joints at maximum 40'-0" [_______] o.c.e.w. in parking lots, 40'-0" [______] o.c. for curbs and maximum 20'-0" o.c.e.w. at pedestrian paving.

### When stoppage occurs at a contraction joint, install sheet metal joint assembly of sufficient section to prevent deflection, shaped to concrete section.  Drill bulkhead to permit continuation of longitudinal reinforcing steel through construction joint.

### Stoppage at Unintentional Location

#### Immediately upon unintended stoppage of concrete placing, place available concrete to a line and install bulkhead perpendicular to surface of pavement and at required elevation.  Place and finish concrete to this bulkhead.  Remove and dispose of concrete remaining on subgrade ahead of bulkhead.

#### When placing of concrete is resumed before concrete has set to extent that concrete will stand on removal of bulkhead, new concrete shall be rodded with the first; otherwise, carefully preserve joint face.

#### Provide a joint seal space at edges created by a construction joint of this type shall have a joint seal space as detailed on Drawings.

### Provide sawed contraction joints in vehicular paving and curbs spaced as detailed on Drawings, but in no case greater than 20 [____] foot o.c. spacing.

#### Saw joints after completion of finishing operations as soon as concrete has hardened to extent necessary to prevent revealing of joint or damage to adjacent concrete surfaces.

#### Saw joints same day that concrete is placed except that sawing of joints in concrete placed late in day may be delayed until morning of following day.

#### In any event, saw joints within 18 hours after placing concrete.

#### Use a power-driven concrete saw made especially for sawing concrete and maintain in good operating condition.

#### Saw blades shall make a clean, smooth cut, producing a groove 1/8" to 3/16" wide and a depth equal to 1/4 of slab thickness, minimum one inch (1") depth.

#### Align joints in vehicular paving with joints in adjacent pedestrian paving.

#### Cut joints through curbs at right angles to back of curb.

### Place joint filler between paving components and building or other appurtenances.  [Recess top of filler 1 inch for backing rod and sealant placement.]

### Provide scored joints in sidewalks and plazas to a depth of 1/4 of the slab thickness, and at intervals as indicated, but in no case spaced greater than width of walk.

## PLACING CONCRETE

### Place concrete in accordance with ACI 301 and 304. Deposit concrete so that specified slab thickness will be obtained after vibrating and finishing operations. Minimize handling to prevent segregation.  Consolidate concrete by suitable means to prevent formation of voids or honeycombs.  Exercise care to prevent disturbance of forms and reinforcing and damage to vapor retarder.  Place concrete to lines and levels shown, properly sloped to drain [into adjacent] [yard areas] [drainage structures].

### Hot Weather Placement:  ACI 305.

### Cold Weather Placement:  ACI 306.

### Ensure reinforcement, inserts, embedded parts, and formed joints are not disturbed during concrete placement.

### Place concrete continuously between predetermined construction joints.  Do not break or interrupt successive pours such that cold joints occur.

### After consolidating and screeding, float concrete to gradients indicated.  Use a straight edge to level and test surface in longitudinal direction to required grade. Finish edges to provide a smooth dense surface with 1/8" radius.

### Immediately after placement, protect concrete under provisions of Section 01500 from premature drying, excessive hot or cold temperatures, and mechanical injury.

### If a curing compound is needed for freshly placed concrete that will later be stained, QC SURE CURE may be considered.  Unlike other curing compounds, QC SURE CURE does not form a film or membrane.  QC SURE CURE will not interfere with the reaction of chemical stains.

### Cure concrete with curing paper, avoiding wrinkles and overlaps which may cause color variations in the finished product.

### Do not allow tape of any kind to be applied to or to come in contact with the floor, prior to or after stain has bee applied.

## CHEMICALLY STAINING CONCRETE

### Preparation:

#### Verify that newly placed concrete has cured at least 28 days and that non-compatible liquid curing materials were not used.  On new or existing (older) concrete, thoroughly clean floors with QC Con-Clean so that uniform penetration of the stain will occur.  If absorption is not uniform and sufficient, sand blasting may be required to properly prepare the floor.

#### Thoroughly clean concrete surfaces by sweeping, pressure washing or scrubbing using a rotary floor machine.  Detergents approved by manufacturer may be used to facilitate cleaning.  Thoroughly rinse with clean water to remove all cleaning residue.

#### Prepare a representative test sample, of size sufficient to represent the end product, complete with stain and sealer.  Allow sample to be reviewed and approved before beginning balance of the work.

#### Protect all surrounding landscaping and adjacent surfaces from overspray or residue run-off.  Mask as required.

### Stain Application:

#### Divide work area into smaller work sections for proper control of coverage, wet edge, and overlaps.  Plan work area so that concrete wet with colorant in not tread upon.

#### Apply chemical stain in a minimum of two coats at the rate of 200-400 S.F./gallon per coat using a pressurized sprayer, followed by working of the stain into the concrete using a stiff nylon bristle brush in a circular motion.  Avoid excessive puddling and lap marks.  Allow 4 hours drying time between coats.  Do not rinse between coats unless contracting colors are used in separate coats.

#### Wet scrub floor surface after second coat of stain to remove residue and salts.  Thoroughly rinse.

### [After concrete has been rinsed and allowed to dry, apply sealer, in two-coat process as recommended by manufacturer.]

### Apply clear sealer in accordance with manufacturer's instructions.

## FINISHING SCHEDULE

### Vehicular Paving:  [Heavy broom] [Light Broom] [Light Sand Blast].

### Sidewalk Paving:  [Light broom] [Light Sand Blast].

### Curbs and Gutters:  [Light broom] [Light Sand Blast].

### Curb Ramps for the Disabled:  "V" grooved perpendicular to slope for entire width and sides of ramp,  with distinctive color difference from surrounding pavement.

### Inclined Vehicular Ramps:  [Broom perpendicular to slope] [V-joint perpendicular to slope] [Herringbone V-joint] [________________].

## FIELD QUALITY CONTROL

### Field inspection and testing will be performed under provisions of Section 01400.

### Maintain records of placed concrete items.  Record date, location of pour, quantity, air temperature, and test samples taken.

## SCHEDULES

********************************************************************************************

Provide a schedule when differing types of concrete mixes are required in differing locations.  The following examples may assist in developing such a schedule.

********************************************************************************************

### Concrete Sidewalks:  3,000 [_____] psi 28 day concrete compression strength, 4 inches thick, 3 inch minimum and 5 inch maximum slump.

### Parking Area Pavement and Curbs:  3,000 [3,500] psi 28 day concrete compressive strength, 5 [6] inches thick, 3 inch minimum and 5 inch maximum slump.

### Fire Lane and Frequent Truck Traffic Pavement and Curbs:  4,000 [______] psi 28 day concrete compressive strength, 6 [7] inches thick, 3 inch minimum and 5 inch maximum slump.

END OF SECTION